## Details
Filename | 8312018_JJwlm_24A_20
Instrument name | 4010-0082
Operator | sdh
rundate | 2018-08-31
proceduresegments | Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep
[File Parameters]
Name | 8312018_JJwlm_24A_20
Instrument type | AresG2
Instrument serial number | 4010-0082
Instrument name | 4010-0082
Instrument location | Loc-NIST
Company name | NIST
Trios version | 4.3.1.39215
File name | C:\ProgramData\TA Instruments\TRIOS\Data\8312018_JJwlm_24A_20.tri
Run date | 2018-08-31 14:49
Time at start of test | 22.0515
[Firmware Versions]
Code Image Loader | V2018.2.13
Main Embedded Kernel | V2018.3.1
Power Board | V2017.1.11
Linear Encoder Board | V2017.1.11
Stepper / Rear Panel Board | V2017.1.11
Lower (Motor) PRTBoard | V2012.6.25
Upper (Transducer) PRT Board | V2012.6.25
Phase Fire Board | V2018.3.2
Environmental (Peltier/EHP) Board | V2017.1.11
FCO PRT Board | V2011.9.7
[Calibration Date Information]
Motor commutation angle calibration | 2018-01-19 11:30
Phase angle correction calibration | 2018-01-19 14:09
Encoder mapping calibration | 2018-01-19 12:24
Encoder impairments calibration | 2018-01-19 12:09
Motor residual torque calibration | 2018-01-19 11:51
Transducer static normal calibration | 2018-06-06 09:39
Transducer static torque calibration | 2018-06-06 09:36
Filter lag correction calibration | 2018-01-19 13:29
Transducer compliance scaling calibration | 2018-01-19 12:56
Motor torque/motor force constant calibration | 2018-01-19 13:40
Programmable gain amplifier calibration | 2018-01-19 13:10
[Calibration Parameters]
SPFrtScaleLow | 52.4619
SPFrtScaleMid | 209.8475
Transducer full scale | 2098.475
SPNrmScale | 2098.636
SPXducerMass | 0
SPXducerNormDamping | 0
SPXducerNormSpringConst | 0
Frequency - 1
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | °C | % | Pa |  | Pa | Pa | Pa.s
600 | 6.8198 | 25.005 | 0.99659 | 2.1778 | 0.069217 | 218.006 | 15.0896 | 0.36421
476.597 | 24.8912 | 25.005 | 0.99299 | 2.2066 | 0.18878 | 218.366 | 41.223 | 0.46627
378.574 | 36.8323 | 24.998 | 0.99593 | 2.0952 | 0.17002 | 207.402 | 35.2629 | 0.55571
300.712 | 44.0627 | 25 | 0.99322 | 2.1334 | 0.15732 | 212.192 | 33.3816 | 0.71431
238.864 | 53.219 | 25 | 1.0012 | 2.091 | 0.14852 | 206.572 | 30.6804 | 0.8743
189.737 | 59.508 | 25.002 | 1.0157 | 2.0667 | 0.14768 | 201.291 | 29.727 | 1.0724
150.713 | 74.1752 | 25.001 | 1.0029 | 2.0105 | 0.1475 | 198.316 | 29.2525 | 1.3301
119.716 | 83.0312 | 24.999 | 1.0139 | 1.9955 | 0.14801 | 194.696 | 28.8168 | 1.644
95.0936 | 94.5608 | 25 | 1.0029 | 1.9406 | 0.1489 | 191.385 | 28.4979 | 2.0348
80 | 100.876 | 25.001 | 1.0064 | 1.923 | 0.15257 | 188.903 | 28.8212 | 2.3886
Frequency - 2
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | °C | % | Pa |  | Pa | Pa | Pa.s
100 | 5.001 | 24.997 | 1.997 | 3.8864 | 0.14929 | 192.48 | 28.7349 | 1.9461
79.4328 | 11.3833 | 24.998 | 2.0086 | 3.8435 | 0.15257 | 189.163 | 28.8611 | 2.409
63.0957 | 19.286 | 25.001 | 2.021 | 3.8021 | 0.1586 | 185.803 | 29.4688 | 2.9816
50.1187 | 25.1965 | 25.004 | 2.0297 | 3.7536 | 0.16737 | 182.403 | 30.5294 | 3.69
39.8107 | 31.6417 | 24.995 | 2.0354 | 3.6991 | 0.1788 | 178.899 | 31.9872 | 4.565
31.6228 | 39.3135 | 25.002 | 2.0393 | 3.6402 | 0.19354 | 175.249 | 33.9179 | 5.6447
25.1189 | 49.9982 | 25.001 | 2.0059 | 3.5135 | 0.2123 | 171.343 | 36.3754 | 6.9733
19.9526 | 56.1802 | 24.993 | 2.0012 | 3.4369 | 0.23597 | 167.149 | 39.4428 | 8.6074
15.8489 | 63.6523 | 25.002 | 2.0019 | 3.3647 | 0.26597 | 162.431 | 43.2025 | 10.605
12.5893 | 68.9583 | 25.002 | 2.0024 | 3.2853 | 0.30384 | 156.981 | 47.6972 | 13.0323
10 | 75.1703 | 25 | 2.0038 | 3.195 | 0.35164 | 150.414 | 52.8919 | 15.9442
8 | 82.1957 | 24.998 | 2.0042 | 3.0935 | 0.40939 | 142.839 | 58.4767 | 19.2931
Frequency - 3
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | °C | % | Pa |  | Pa | Pa | Pa.s
10 | 5.6905 | 25.001 | 4.98 | 8.0342 | 0.35158 | 152.198 | 53.5104 | 16.1331
7.9433 | 12.763 | 24.998 | 4.9782 | 7.7718 | 0.41138 | 144.377 | 59.394 | 19.6539
6.3096 | 21.6377 | 25.008 | 4.9783 | 7.4571 | 0.48619 | 134.713 | 65.4962 | 23.7402
5.0119 | 25.2945 | 24.996 | 4.9802 | 7.0802 | 0.57954 | 123.003 | 71.285 | 28.366
3.9811 | 28.4105 | 24.998 | 4.9781 | 6.6301 | 0.69607 | 109.31 | 76.0879 | 33.4544
3.1623 | 32.333 | 25 | 4.9798 | 6.1054 | 0.84147 | 93.8095 | 78.9384 | 38.7705
2.5119 | 37.2902 | 24.997 | 4.9807 | 5.5127 | 1.0239 | 77.3364 | 79.1815 | 44.0635
1.9953 | 43.5573 | 25.001 | 4.978 | 4.8708 | 1.2537 | 61.0132 | 76.4951 | 49.0399
1.5849 | 51.4423 | 25.002 | 4.9794 | 4.2121 | 1.5433 | 45.9988 | 70.9903 | 53.3728
1.2589 | 61.3833 | 24.998 | 4.9804 | 3.5694 | 1.9088 | 33.2586 | 63.4842 | 56.9283
1 | 73.9157 | 24.995 | 4.9818 | 2.9733 | 2.3712 | 23.1925 | 54.9941 | 59.6845
0.8 | 89.5767 | 24.997 | 4.9813 | 2.4582 | 2.9324 | 15.9285 | 46.7083 | 61.687
Frequency - 4
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | °C | % | Pa |  | Pa | Pa | Pa.s
1 | 12.574 | 24.996 | 19.927 | 12.1657 | 2.3748 | 23.6932 | 56.2664 | 61.0514
0.79433 | 36.262 | 25.002 | 19.9198 | 10.0091 | 2.9568 | 16.0979 | 47.5984 | 63.257
0.63096 | 66.1005 | 24.996 | 19.9244 | 8.1504 | 3.6883 | 10.7046 | 39.4812 | 64.8327
0.50119 | 103.672 | 25 | 19.9184 | 6.5911 | 4.6053 | 7.0216 | 32.337 | 66.0244
0.39811 | 150.99 | 24.996 | 19.9209 | 5.3077 | 5.754 | 4.5622 | 26.2505 | 66.9266
0.31623 | 210.572 | 25.003 | 19.9453 | 4.2644 | 7.1811 | 2.9489 | 21.1763 | 67.6116
0.25119 | 285.579 | 25.004 | 19.9613 | 3.423 | 8.9776 | 1.8984 | 17.043 | 68.2688
0.19953 | 380.019 | 25.005 | 19.9758 | 2.7457 | 11.157 | 1.2271 | 13.6902 | 68.8887
0.15849 | 498.935 | 25.003 | 19.9892 | 2.2045 | 13.7928 | 0.7975 | 10.9997 | 69.5857
Frequency - 5
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | °C | % | Pa |  | Pa | Pa | Pa.s
600 | 6.822 | 24.996 | 0.99667 | 2.2135 | 0.064139 | 221.634 | 14.2154 | 0.37015
476.597 | 24.8928 | 25 | 0.993 | 2.2316 | 0.1841 | 221.018 | 40.6895 | 0.47153
378.574 | 36.8342 | 25.003 | 0.99596 | 2.1281 | 0.16665 | 210.766 | 35.1247 | 0.56441
300.712 | 44.0645 | 25.002 | 0.99327 | 2.1611 | 0.15089 | 215.14 | 32.4621 | 0.72353
238.864 | 53.2213 | 25.001 | 1.0013 | 2.1187 | 0.1434 | 209.451 | 30.0349 | 0.88583
189.737 | 59.2806 | 25.002 | 1.0158 | 2.1003 | 0.14294 | 204.687 | 29.2569 | 1.0898
150.713 | 73.9435 | 24.998 | 1.0029 | 2.0432 | 0.14132 | 201.717 | 28.507 | 1.3517
119.716 | 83.175 | 25.002 | 1.0139 | 2.0297 | 0.14129 | 198.213 | 28.0048 | 1.6721
95.0936 | 94.7047 | 25.002 | 1.0029 | 1.9757 | 0.14245 | 195.022 | 27.7809 | 2.0715
80 | 101.089 | 25.004 | 1.0064 | 1.9592 | 0.14601 | 192.641 | 28.1269 | 2.4335

## Details (2)
Filename | 8312018_JJwlm_24A_20
Instrument name | 4010-0082
Operator | sdh
rundate | 2018-08-31
proceduresegments | Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep
[File Parameters]
Name | 8312018_JJwlm_24A_20
Instrument type | AresG2
Instrument serial number | 4010-0082
Instrument name | 4010-0082
Instrument location | Loc-NIST
Company name | NIST
Trios version | 4.3.1.39215
File name | C:\ProgramData\TA Instruments\TRIOS\Data\8312018_JJwlm_24A_20.tri
Run date | 2018-08-31 14:49
Time at start of test | 22.0515
[Firmware Versions]
Code Image Loader | V2018.2.13
Main Embedded Kernel | V2018.3.1
Power Board | V2017.1.11
Linear Encoder Board | V2017.1.11
Stepper / Rear Panel Board | V2017.1.11
Lower (Motor) PRTBoard | V2012.6.25
Upper (Transducer) PRT Board | V2012.6.25
Phase Fire Board | V2018.3.2
Environmental (Peltier/EHP) Board | V2017.1.11
FCO PRT Board | V2011.9.7
[Calibration Date Information]
Motor commutation angle calibration | 2018-01-19 11:30
Phase angle correction calibration | 2018-01-19 14:09
Encoder mapping calibration | 2018-01-19 12:24
Encoder impairments calibration | 2018-01-19 12:09
Motor residual torque calibration | 2018-01-19 11:51
Transducer static normal calibration | 2018-06-06 09:39
Transducer static torque calibration | 2018-06-06 09:36
Filter lag correction calibration | 2018-01-19 13:29
Transducer compliance scaling calibration | 2018-01-19 12:56
Motor torque/motor force constant calibration | 2018-01-19 13:40
Programmable gain amplifier calibration | 2018-01-19 13:10
[Calibration Parameters]
SPFrtScaleLow | 52.4619
SPFrtScaleMid | 209.8475
Transducer full scale | 2098.475
SPNrmScale | 2098.636
SPXducerMass | 0
SPXducerNormDamping | 0
SPXducerNormSpringConst | 0
Frequency - 1
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | °C | % | Pa |  | Pa | Pa | Pa.s
600 | 6.8198 | 25.005 | 0.99659 | 2.1778 | 0.069217 | 218.006 | 15.0896 | 0.36421
476.597 | 24.8912 | 25.005 | 0.99299 | 2.2066 | 0.18878 | 218.366 | 41.223 | 0.46627
378.574 | 36.8323 | 24.998 | 0.99593 | 2.0952 | 0.17002 | 207.402 | 35.2629 | 0.55571
300.712 | 44.0627 | 25 | 0.99322 | 2.1334 | 0.15732 | 212.192 | 33.3816 | 0.71431
238.864 | 53.219 | 25 | 1.0012 | 2.091 | 0.14852 | 206.572 | 30.6804 | 0.8743
189.737 | 59.508 | 25.002 | 1.0157 | 2.0667 | 0.14768 | 201.291 | 29.727 | 1.0724
150.713 | 74.1752 | 25.001 | 1.0029 | 2.0105 | 0.1475 | 198.316 | 29.2525 | 1.3301
119.716 | 83.0312 | 24.999 | 1.0139 | 1.9955 | 0.14801 | 194.696 | 28.8168 | 1.644
95.0936 | 94.5608 | 25 | 1.0029 | 1.9406 | 0.1489 | 191.385 | 28.4979 | 2.0348
80 | 100.876 | 25.001 | 1.0064 | 1.923 | 0.15257 | 188.903 | 28.8212 | 2.3886
100 | 5.001 | 24.997 | 1.997 | 3.8864 | 0.14929 | 192.48 | 28.7349 | 1.9461
79.4328 | 11.3833 | 24.998 | 2.0086 | 3.8435 | 0.15257 | 189.163 | 28.8611 | 2.409
63.0957 | 19.286 | 25.001 | 2.021 | 3.8021 | 0.1586 | 185.803 | 29.4688 | 2.9816
50.1187 | 25.1965 | 25.004 | 2.0297 | 3.7536 | 0.16737 | 182.403 | 30.5294 | 3.69
39.8107 | 31.6417 | 24.995 | 2.0354 | 3.6991 | 0.1788 | 178.899 | 31.9872 | 4.565
31.6228 | 39.3135 | 25.002 | 2.0393 | 3.6402 | 0.19354 | 175.249 | 33.9179 | 5.6447
25.1189 | 49.9982 | 25.001 | 2.0059 | 3.5135 | 0.2123 | 171.343 | 36.3754 | 6.9733
19.9526 | 56.1802 | 24.993 | 2.0012 | 3.4369 | 0.23597 | 167.149 | 39.4428 | 8.6074
15.8489 | 63.6523 | 25.002 | 2.0019 | 3.3647 | 0.26597 | 162.431 | 43.2025 | 10.605
12.5893 | 68.9583 | 25.002 | 2.0024 | 3.2853 | 0.30384 | 156.981 | 47.6972 | 13.0323
10 | 75.1703 | 25 | 2.0038 | 3.195 | 0.35164 | 150.414 | 52.8919 | 15.9442
8 | 82.1957 | 24.998 | 2.0042 | 3.0935 | 0.40939 | 142.839 | 58.4767 | 19.2931
10 | 5.6905 | 25.001 | 4.98 | 8.0342 | 0.35158 | 152.198 | 53.5104 | 16.1331
7.9433 | 12.763 | 24.998 | 4.9782 | 7.7718 | 0.41138 | 144.377 | 59.394 | 19.6539
6.3096 | 21.6377 | 25.008 | 4.9783 | 7.4571 | 0.48619 | 134.713 | 65.4962 | 23.7402
5.0119 | 25.2945 | 24.996 | 4.9802 | 7.0802 | 0.57954 | 123.003 | 71.285 | 28.366
3.9811 | 28.4105 | 24.998 | 4.9781 | 6.6301 | 0.69607 | 109.31 | 76.0879 | 33.4544
3.1623 | 32.333 | 25 | 4.9798 | 6.1054 | 0.84147 | 93.8095 | 78.9384 | 38.7705
2.5119 | 37.2902 | 24.997 | 4.9807 | 5.5127 | 1.0239 | 77.3364 | 79.1815 | 44.0635
1.9953 | 43.5573 | 25.001 | 4.978 | 4.8708 | 1.2537 | 61.0132 | 76.4951 | 49.0399
1.5849 | 51.4423 | 25.002 | 4.9794 | 4.2121 | 1.5433 | 45.9988 | 70.9903 | 53.3728
1.2589 | 61.3833 | 24.998 | 4.9804 | 3.5694 | 1.9088 | 33.2586 | 63.4842 | 56.9283
1 | 73.9157 | 24.995 | 4.9818 | 2.9733 | 2.3712 | 23.1925 | 54.9941 | 59.6845
0.8 | 89.5767 | 24.997 | 4.9813 | 2.4582 | 2.9324 | 15.9285 | 46.7083 | 61.687
1 | 12.574 | 24.996 | 19.927 | 12.1657 | 2.3748 | 23.6932 | 56.2664 | 61.0514
0.79433 | 36.262 | 25.002 | 19.9198 | 10.0091 | 2.9568 | 16.0979 | 47.5984 | 63.257
0.63096 | 66.1005 | 24.996 | 19.9244 | 8.1504 | 3.6883 | 10.7046 | 39.4812 | 64.8327
0.50119 | 103.672 | 25 | 19.9184 | 6.5911 | 4.6053 | 7.0216 | 32.337 | 66.0244
0.39811 | 150.99 | 24.996 | 19.9209 | 5.3077 | 5.754 | 4.5622 | 26.2505 | 66.9266
0.31623 | 210.572 | 25.003 | 19.9453 | 4.2644 | 7.1811 | 2.9489 | 21.1763 | 67.6116
0.25119 | 285.579 | 25.004 | 19.9613 | 3.423 | 8.9776 | 1.8984 | 17.043 | 68.2688
0.19953 | 380.019 | 25.005 | 19.9758 | 2.7457 | 11.157 | 1.2271 | 13.6902 | 68.8887
0.15849 | 498.935 | 25.003 | 19.9892 | 2.2045 | 13.7928 | 0.7975 | 10.9997 | 69.5857
600 | 6.822 | 24.996 | 0.99667 | 2.2135 | 0.064139 | 221.634 | 14.2154 | 0.37015
476.597 | 24.8928 | 25 | 0.993 | 2.2316 | 0.1841 | 221.018 | 40.6895 | 0.47153
378.574 | 36.8342 | 25.003 | 0.99596 | 2.1281 | 0.16665 | 210.766 | 35.1247 | 0.56441
300.712 | 44.0645 | 25.002 | 0.99327 | 2.1611 | 0.15089 | 215.14 | 32.4621 | 0.72353
238.864 | 53.2213 | 25.001 | 1.0013 | 2.1187 | 0.1434 | 209.451 | 30.0349 | 0.88583
189.737 | 59.2806 | 25.002 | 1.0158 | 2.1003 | 0.14294 | 204.687 | 29.2569 | 1.0898
150.713 | 73.9435 | 24.998 | 1.0029 | 2.0432 | 0.14132 | 201.717 | 28.507 | 1.3517
119.716 | 83.175 | 25.002 | 1.0139 | 2.0297 | 0.14129 | 198.213 | 28.0048 | 1.6721
95.0936 | 94.7047 | 25.002 | 1.0029 | 1.9757 | 0.14245 | 195.022 | 27.7809 | 2.0715
80 | 101.089 | 25.004 | 1.0064 | 1.9592 | 0.14601 | 192.641 | 28.1269 | 2.4335