## 9282018_JJwlm_24A_4_25C
Filename | 9282018_JJwlm_24A_4
Instrument name | 4010-0082
Operator | sdh
rundate | 2018-09-28
proceduresegments | Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep
[File Parameters]
Name | 9282018_JJwlm_24A_4
Instrument type | AresG2
Instrument serial number | 4010-0082
Instrument name | 4010-0082
Instrument location | Loc-NIST
Company name | NIST
Trios version | 4.3.1.39215
File name | C:\ProgramData\TA Instruments\TRIOS\Data\9282018_JJwlm_24A_4.tri
Run date | 2018-09-28 11:08
Time at start of test | 22.4245
[Firmware Versions]
Code Image Loader | V2018.2.13
Main Embedded Kernel | V2018.3.1
Power Board | V2017.1.11
Linear Encoder Board | V2017.1.11
Stepper / Rear Panel Board | V2017.1.11
Lower (Motor) PRTBoard | V2012.6.25
Upper (Transducer) PRT Board | V2012.6.25
Phase Fire Board | V2018.3.2
Environmental (Peltier/EHP) Board | V2017.1.11
FCO PRT Board | V2011.9.7
[Calibration Date Information]
Motor commutation angle calibration | 2018-01-19 11:30
Phase angle correction calibration | 2018-01-19 14:09
Encoder mapping calibration | 2018-01-19 12:24
Encoder impairments calibration | 2018-01-19 12:09
Motor residual torque calibration | 2018-01-19 11:51
Transducer static normal calibration | 2018-09-24 15:03
Transducer static torque calibration | 2018-09-24 15:00
Filter lag correction calibration | 2018-01-19 13:29
Transducer compliance scaling calibration | 2018-01-19 12:56
Motor torque/motor force constant calibration | 2018-01-19 13:40
Programmable gain amplifier calibration | 2018-01-19 13:10
[Calibration Parameters]
SPFrtScaleLow | 52.4031
SPFrtScaleMid | 209.6126
Transducer full scale | 2096.126
SPNrmScale | 2098.042
SPXducerMass | 0
SPXducerNormDamping | 0
SPXducerNormSpringConst | 0
[step]
Frequency - 1
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | Â°C | % | Pa |  | Pa | Pa | Pa.s
500 | 7.7313 | 24.979 | 0.79322 | 1.5798 | 0.2177 | 194.601 | 42.3644 | 0.39832
397.164 | 19.345 | 24.983 | 0.79584 | 1.5234 | 0.16938 | 188.73 | 31.9674 | 0.48196
315.479 | 25.9465 | 24.982 | 0.78963 | 1.7497 | 0.089632 | 220.703 | 19.782 | 0.70239
250.594 | 34.1057 | 24.986 | 0.79508 | 1.5603 | 0.13851 | 194.386 | 26.925 | 0.78311
199.054 | 40.0132 | 24.983 | 0.80557 | 1.5637 | 0.16012 | 191.667 | 30.6888 | 0.97515
158.114 | 52.6335 | 24.985 | 0.80235 | 1.522 | 0.16385 | 187.202 | 30.6732 | 1.1998
125.594 | 60.4783 | 24.988 | 0.81136 | 1.5095 | 0.1642 | 183.59 | 30.1453 | 1.4813
99.7631 | 73.8032 | 24.984 | 0.80234 | 1.4671 | 0.16749 | 180.337 | 30.205 | 1.8328
80 | 84.6237 | 24.989 | 0.80651 | 1.4395 | 0.17061 | 175.945 | 30.0189 | 2.2311
100 | 4.9998 | 24.989 | 1.4981 | 2.7218 | 0.1697 | 179.127 | 30.3982 | 1.8169
79.4328 | 12.965 | 24.989 | 1.5063 | 2.7008 | 0.17182 | 176.71 | 30.3615 | 2.2572
63.0957 | 25.5443 | 24.986 | 1.5152 | 2.6672 | 0.17925 | 173.266 | 31.0573 | 2.7898
50.1187 | 32.8345 | 24.985 | 1.5213 | 2.6067 | 0.18891 | 168.374 | 31.807 | 3.4189
39.8107 | 41.0137 | 24.984 | 1.5253 | 2.5534 | 0.20322 | 164.051 | 33.3384 | 4.205
31.6228 | 49.874 | 24.989 | 1.5279 | 2.5199 | 0.22015 | 161.066 | 35.4585 | 5.2153
25.1189 | 56.8098 | 24.987 | 1.5296 | 2.4763 | 0.24076 | 157.395 | 37.8946 | 6.445
19.9526 | 69.2962 | 24.99 | 1.5044 | 2.3582 | 0.26706 | 151.448 | 40.4451 | 7.8564
15.8489 | 76.7698 | 24.987 | 1.5004 | 2.2852 | 0.29979 | 145.887 | 43.7355 | 9.6096
12.5893 | 82.0787 | 24.99 | 1.5008 | 2.2279 | 0.34152 | 140.483 | 47.9771 | 11.7918
10 | 88.2933 | 24.992 | 1.5018 | 2.171 | 0.39334 | 134.526 | 52.9148 | 14.4558
8 | 95.3218 | 24.992 | 1.5021 | 2.0983 | 0.45662 | 127.072 | 58.0234 | 17.4616
10 | 8.8318 | 24.992 | 2.4899 | 3.5829 | 0.39338 | 133.906 | 52.6762 | 14.3894
7.9433 | 15.8983 | 24.991 | 2.4891 | 3.4378 | 0.4586 | 125.541 | 57.5729 | 17.3874
6.3096 | 24.7787 | 24.989 | 2.4891 | 3.3002 | 0.54164 | 116.581 | 63.1454 | 21.0131
5.0119 | 28.4418 | 24.996 | 2.4901 | 3.1267 | 0.64566 | 105.491 | 68.1108 | 25.0542
3.9811 | 31.5652 | 24.983 | 2.489 | 2.9064 | 0.7764 | 92.2329 | 71.6099 | 29.3309
3.1623 | 35.4975 | 24.997 | 2.4899 | 2.6472 | 0.9418 | 77.398 | 72.8938 | 33.6213
2.5119 | 40.456 | 24.994 | 2.4903 | 2.3437 | 1.1508 | 61.7282 | 71.0391 | 37.4664
1.9953 | 46.7232 | 24.998 | 2.489 | 2.0403 | 1.4209 | 47.1791 | 67.038 | 41.085
1.5849 | 54.6082 | 25.001 | 2.4897 | 1.7358 | 1.7808 | 34.138 | 60.7917 | 43.9911
1.2589 | 64.549 | 24.996 | 2.4902 | 1.4678 | 2.1908 | 24.4761 | 53.6223 | 46.8211
1 | 77.0832 | 25 | 2.4909 | 1.2138 | 2.7117 | 16.8598 | 45.7188 | 48.7284
0.8 | 92.7443 | 24.999 | 2.4905 | 0.98675 | 3.3756 | 11.2536 | 37.9878 | 49.5245
1 | 18.8573 | 25 | 9.9635 | 4.948 | 2.7202 | 17.1353 | 46.6119 | 49.6618
0.79433 | 42.5477 | 25.001 | 9.9599 | 4.064 | 3.4089 | 11.4858 | 39.1539 | 51.369
0.63096 | 72.3903 | 25.002 | 9.9622 | 3.259 | 4.2063 | 7.5665 | 31.8269 | 51.8481
0.50119 | 109.965 | 25.006 | 9.9592 | 2.621 | 5.3198 | 4.862 | 25.8647 | 52.5107
199.054 | 40.7522 | 24.997 | 0.80556 | 1.5561 | 0.16362 | 190.632 | 31.1905 | 0.97042
158.114 | 55.1917 | 24.999 | 0.80235 | 1.5247 | 0.15602 | 187.762 | 29.295 | 1.2019
125.594 | 63.2363 | 25.002 | 0.81134 | 1.52 | 0.16108 | 184.96 | 29.7938 | 1.4917
99.7631 | 77.6933 | 25.004 | 0.80234 | 1.4704 | 0.16509 | 180.817 | 29.8512 | 1.837
80 | 84.0385 | 25.005 | 0.80652 | 1.4414 | 0.16589 | 176.305 | 29.2475 | 2.2339
500 | 7.7312 | 25.002 | 0.79326 | 1.555 | 0.21577 | 191.619 | 41.3459 | 0.39206
397.164 | 19.3573 | 25.004 | 0.79583 | 1.4895 | 0.16865 | 184.562 | 31.127 | 0.47126
315.479 | 25.9592 | 24.997 | 0.78964 | 1.7574 | 0.08742 | 221.709 | 19.3818 | 0.70545
250.594 | 34.1185 | 24.996 | 0.79507 | 1.5749 | 0.13896 | 196.197 | 27.2632 | 0.79045