## 9282018_JJwlm_24A_9_40C
Filename | 9282018_JJwlm_24A_9
Instrument name | 4010-0082
Operator | sdh
rundate | 2018-09-28
proceduresegments | Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep#Frequency Sweep
[File Parameters]
Name | 9282018_JJwlm_24A_9
Instrument type | AresG2
Instrument serial number | 4010-0082
Instrument name | 4010-0082
Instrument location | Loc-NIST
Company name | NIST
Trios version | 4.3.1.39215
File name | C:\ProgramData\TA Instruments\TRIOS\Data\9282018_JJwlm_24A_9.tri
Run date | 2018-09-28 11:55
Time at start of test | 21.7963
[Firmware Versions]
Code Image Loader | V2018.2.13
Main Embedded Kernel | V2018.3.1
Power Board | V2017.1.11
Linear Encoder Board | V2017.1.11
Stepper / Rear Panel Board | V2017.1.11
Lower (Motor) PRTBoard | V2012.6.25
Upper (Transducer) PRT Board | V2012.6.25
Phase Fire Board | V2018.3.2
Environmental (Peltier/EHP) Board | V2017.1.11
FCO PRT Board | V2011.9.7
[Calibration Date Information]
Motor commutation angle calibration | 2018-01-19 11:30
Phase angle correction calibration | 2018-01-19 14:09
Encoder mapping calibration | 2018-01-19 12:24
Encoder impairments calibration | 2018-01-19 12:09
Motor residual torque calibration | 2018-01-19 11:51
Transducer static normal calibration | 2018-09-24 15:03
Transducer static torque calibration | 2018-09-24 15:00
Filter lag correction calibration | 2018-01-19 13:29
Transducer compliance scaling calibration | 2018-01-19 12:56
Motor torque/motor force constant calibration | 2018-01-19 13:40
Programmable gain amplifier calibration | 2018-01-19 13:10
[Calibration Parameters]
SPFrtScaleLow | 52.4031
SPFrtScaleMid | 209.6126
Transducer full scale | 2096.126
SPNrmScale | 2098.042
SPXducerMass | 0
SPXducerNormDamping | 0
SPXducerNormSpringConst | 0
[step]
Frequency - 1
Angular frequency | Step time | Temperature | Oscillation strain | Oscillation stress | Tan(delta) | Storage modulus | Loss modulus | Complex viscosity
rad/s | s | Â°C | % | Pa |  | Pa | Pa | Pa.s
500 | 7.732 | 40.058 | 0.79305 | 1.0841 | 0.38066 | 127.754 | 48.6307 | 0.27339
397.164 | 23.2025 | 40.048 | 0.79602 | 1.0109 | 0.32806 | 120.671 | 39.5878 | 0.31976
315.479 | 32.8562 | 40.052 | 0.79033 | 1.2451 | 0.16834 | 155.351 | 26.1511 | 0.49936
250.594 | 46.661 | 40.043 | 0.7961 | 1.0378 | 0.28795 | 125.276 | 36.0734 | 0.52023
199.054 | 53.5143 | 40.042 | 0.8068 | 1.0341 | 0.32678 | 121.828 | 39.811 | 0.64389
158.114 | 66.169 | 40.035 | 0.80235 | 0.98694 | 0.3463 | 116.234 | 40.2513 | 0.77796
125.594 | 74.0148 | 40.034 | 0.81141 | 0.95829 | 0.37883 | 110.442 | 41.8387 | 0.94034
99.7631 | 87.1517 | 40.03 | 0.80235 | 0.90143 | 0.40544 | 104.117 | 42.2132 | 1.1262
80 | 93.5007 | 40.027 | 0.80652 | 0.87038 | 0.44569 | 98.571 | 43.9325 | 1.349
100 | 5.002 | 40.025 | 1.4981 | 1.6798 | 0.41037 | 103.729 | 42.5671 | 1.1212
79.4328 | 11.3853 | 40.027 | 1.5064 | 1.6165 | 0.44817 | 97.93 | 43.8889 | 1.351
63.0957 | 19.2852 | 40.025 | 1.5152 | 1.5513 | 0.50182 | 91.5052 | 45.9196 | 1.6226
50.1187 | 25.199 | 40.029 | 1.5212 | 1.4765 | 0.56884 | 84.3687 | 47.9924 | 1.9367
39.8107 | 31.6448 | 40.023 | 1.5252 | 1.3894 | 0.65677 | 76.143 | 50.0089 | 2.2883
31.6228 | 43.0915 | 40.018 | 1.5277 | 1.2968 | 0.76809 | 67.3168 | 51.7055 | 2.6842
25.1189 | 48.5258 | 40.024 | 1.5294 | 1.1867 | 0.90839 | 57.4336 | 52.1723 | 3.089
19.9526 | 61.0065 | 40.019 | 1.5044 | 1.0426 | 1.0871 | 46.9215 | 51.0066 | 3.4735
15.8489 | 68.485 | 40.022 | 1.5004 | 0.91634 | 1.3127 | 37.0081 | 48.5819 | 3.8534
12.5893 | 73.7868 | 40.02 | 1.5007 | 0.78982 | 1.6028 | 27.8581 | 44.6522 | 4.1805
10 | 79.9925 | 40.022 | 1.5017 | 0.66775 | 1.9717 | 20.1127 | 39.6565 | 4.4465
8 | 87.0212 | 40.02 | 1.502 | 0.55693 | 2.4127 | 14.197 | 34.253 | 4.6348
10 | 5.6903 | 40.015 | 2.4899 | 1.0945 | 1.9679 | 19.9142 | 39.1892 | 4.3959
7.9433 | 12.7623 | 40.023 | 2.4891 | 0.91186 | 2.4327 | 13.9284 | 33.884 | 4.6121
6.3096 | 21.637 | 40.021 | 2.4891 | 0.747 | 3.0164 | 9.4438 | 28.4867 | 4.7565
5.0119 | 25.2933 | 40.017 | 2.4899 | 0.6043 | 3.7993 | 6.1775 | 23.4702 | 4.8424
3.9811 | 28.408 | 40.018 | 2.4889 | 0.48786 | 4.9486 | 3.8825 | 19.2129 | 4.9236
3.1623 | 32.3415 | 40.014 | 2.4898 | 0.3949 | 5.986 | 2.6134 | 15.6436 | 5.0155
2.5119 | 37.3017 | 40.017 | 2.4903 | 0.31283 | 7.6486 | 1.6286 | 12.4562 | 5.0011
1.9953 | 43.5675 | 39.999 | 2.4889 | 0.24988 | 9.2377 | 1.0805 | 9.9813 | 5.0317
1 | 12.574 | 40.016 | 9.9634 | 0.51443 | 18.0751 | 0.28521 | 5.1553 | 5.1632
200 | 5.2512 | 40.02 | 0.79344 | 0.95957 | 0.33387 | 114.713 | 38.2993 | 0.60469
158.866 | 14.4407 | 40.012 | 0.80353 | 0.92385 | 0.35039 | 108.506 | 38.019 | 0.72372
126.191 | 22.2518 | 40.006 | 0.81502 | 0.90141 | 0.38011 | 103.384 | 39.2971 | 0.87645
100.237 | 33.505 | 40.009 | 0.80234 | 0.85164 | 0.40913 | 98.2406 | 40.193 | 1.0589
80 | 41.646 | 40.012 | 0.80666 | 0.81899 | 0.45244 | 92.5013 | 41.8514 | 1.2691
158.866 | 11.3135 | 35.026 | 0.80351 | 1.1337 | 0.2544 | 136.732 | 34.7852 | 0.88809
126.191 | 20.5648 | 35.019 | 0.815 | 1.1155 | 0.27359 | 132.024 | 36.1208 | 1.0847
100.237 | 31.8183 | 35.026 | 0.80235 | 1.0645 | 0.2838 | 127.629 | 36.2215 | 1.3236
80 | 39.7237 | 35.025 | 0.80668 | 1.037 | 0.31223 | 122.709 | 38.3134 | 1.6069
500 | 7.7322 | 29.898 | 0.79294 | 1.3731 | 0.26225 | 167.495 | 43.9252 | 0.34632
397.164 | 19.3588 | 29.92 | 0.79601 | 1.3033 | 0.20653 | 160.343 | 33.1154 | 0.41224
315.479 | 29.7258 | 29.94 | 0.79035 | 1.5371 | 0.10227 | 193.478 | 19.7876 | 0.61648
500 | 7.7335 | 30.016 | 0.79303 | 1.294 | 0.26194 | 157.842 | 41.3457 | 0.32633
397.164 | 19.3597 | 30.014 | 0.79601 | 1.2581 | 0.20885 | 154.716 | 32.3123 | 0.39796
315.479 | 25.9627 | 30.017 | 0.79034 | 1.4756 | 0.10562 | 185.673 | 19.6115 | 0.59182